## TOC
Electric Company
Excel Interview Prep Workbook — Utility Analytics Role
Prepared for: JOSE ¦ Date: September 18, 2026 ¦ Location: Wesley Chapel, FL
# | Sheet Name | Purpose | Key Features | Data Rows | Formulas | Charts | Link
1 | Billing Spike Investigation | Detect billing anomalies using historical averages | Spike Ratio, Anomaly Flag, Conditional Formatting, Bar Chart | 20 | Yes | Yes | Go to Sheet 1
2 | Meter Read Data Quality | Validate meter reads for duplicates, reversals, missing reads | Data Quality Flags, Color-Coded CF, Deviation %, Summary | 25 | Yes | No | Go to Sheet 2
3 | Outage KPI Calculations | Calculate SAIDI/SAIFI reliability KPIs from outage events | SAIDI/SAIFI/CAIDI, Cumulative Totals, IEEE Benchmarks, Charts | 30 | Yes | Yes | Go to Sheet 3
4 | Billing Amount Formulas | Demonstrate Electric Company rate structure billing calculations | RS-1/GS-2/GS-3/IS-1 Rates, Tiered Pricing, Tax Calcs, Assumptions | 15 | Yes | No | Go to Sheet 4
5 | Power Query ETL Examples | Document Power Query M-code ETL logic for Electric Company pipelines | 12 ETL Steps, 10 Best Practices, M-Code Snippets | 22 | No | No | Go to Sheet 5
6 | UAT Checklist | User Acceptance Testing for Electric Company billing analytics dashboard | 40 Test Cases, 6 Categories, Dropdowns, Status Dashboard | 40 | Yes | No | Go to Sheet 6
7 | Q&A Reference | Interview question & answer reference for analytics role | 35 Q&A Pairs, 5 Categories, Difficulty Ratings, Color Coding | 35 | No | No | Go to Sheet 7
Electric Company Utility Analytics — Key Metrics Reference
Metric | Value | Unit | Context
Total Customers Served | 800,000 | Customers | Electric Company approximate service territory
SAIDI IEEE Benchmark | < 90 | min/year | IEEE 1366 target for distribution reliability
SAIFI IEEE Benchmark | < 1.0 | int/customer/year | IEEE 1366 target for frequency of interruptions
RS-1 Base Charge | $6.65 | $/month | Residential service monthly fixed charge
Spike Alert Threshold | 1.5x | ratio | kWh ratio triggering anomaly investigation
Billing Variance Alert | $150 | dollars | Dollar threshold for billing spike flag
High Deviation Threshold | 50% | percent | Meter read deviation % threshold for data quality flag
Planned Maintenance % | ~10% | percent | Approximate share of outages that are planned

## 1-Billing Spikes
Electric Company — Billing Spike Investigation
Purpose: Detect billing anomalies using historical averages and spike ratios ¦ Spike Alert: Ratio > 1.5x OR Variance > $150
Account ID | Customer Name | Rate Code | Prior 3-Mo Avg kWh | Current Month kWh | Spike Ratio | Prior Avg Bill ($) | Current Bill ($) | Billing Variance ($) | Anomaly Flag | Notes
Electric Company-10001 | Sandra Mitchell | RS-1 | 1150 | 1320 | 1.1478 | 145.8 | 169.15 | 23.35 | OK
Electric Company-10002 | David Okafor | RS-1 | 980 | 2210 | 2.2551 | 122.84 | 291.39 | 168.55 | INVESTIGATE | Usage spike detected
Electric Company-10003 | Maria Torres | RS-1 | 1400 | 1380 | 0.98571 | 180.14 | 177.39 | -2.75 | OK
Electric Company-10004 | James Whitfield | RS-1 | 1050 | 1680 | 1.6 | 132.06 | 218.59 | 86.53 | INVESTIGATE | Usage spike detected
Electric Company-10005 | Angela Brooks | RS-1 | 870 | 920 | 1.0575 | 109.86 | 115.76 | 5.9 | OK
Electric Company-10006 | Chen Wei | GS-2 | 4500 | 7900 | 1.7556 | 515.96 | 893.42 | 377.46 | INVESTIGATE | Usage spike detected
Electric Company-10007 | Lakeside Diner LLC | GS-2 | 5200 | 5500 | 1.0577 | 593.68 | 626.98 | 33.3 | OK
Electric Company-10008 | Premier Auto Body | GS-2 | 3800 | 3950 | 1.0395 | 438.25 | 454.9 | 16.65 | OK
Electric Company-10009 | Sunrise Fitness | GS-2 | 6100 | 10800 | 1.7705 | 693.59 | 1215.38 | 521.79 | INVESTIGATE | Usage spike detected
Electric Company-10010 | Bay Area Dental | GS-2 | 4200 | 4350 | 1.0357 | 482.66 | 499.31 | 16.65 | OK
Electric Company-10011 | WC Medical Plaza | GS-3 | 12000 | 19500 | 1.625 | 1198.61 | 1923.84 | 725.23 | INVESTIGATE | Usage spike detected
Electric Company-10012 | Pasco County Sch. | GS-3 | 15500 | 16200 | 1.0452 | 1537.05 | 1604.74 | 67.69 | OK
Electric Company-10013 | Northgate Mall | GS-3 | 18000 | 18400 | 1.0222 | 1778.8 | 1817.47 | 38.67 | OK
Electric Company-10014 | Regional Hospital | GS-3 | 11000 | 11200 | 1.0182 | 1101.91 | 1121.25 | 19.34 | OK
Electric Company-10015 | TechPark Office | GS-3 | 9500 | 15800 | 1.6632 | 956.86 | 1566.06 | 609.2 | INVESTIGATE | Usage spike detected
Electric Company-10016 | SR-54 Streetlight | PL-1 | 380 | 390 | 1.0263 | 52.08 | 53.26 | 1.18 | OK
Electric Company-10017 | Meadow Pkwy Lights | PL-1 | 290 | 300 | 1.0345 | 41.46 | 42.64 | 1.18 | OK
Electric Company-10018 | I-75 Interchange | PL-1 | 510 | 780 | 1.5294 | 67.41 | 99.25 | 31.84 | INVESTIGATE | Usage spike detected
Electric Company-10019 | Polymer Corp | IS-1 | 42000 | 41500 | 0.9881 | 3450.33 | 3411.21 | -39.12 | OK
Electric Company-10020 | Gulf Coast Steel | IS-1 | 35000 | 75000 | 2.1429 | 2902.58 | 6032.57 | 3129.99 | INVESTIGATE | Usage spike detected
SUMMARY — Billing Spike Analysis
Total Accounts Reviewed | 20
Total Accounts Flagged (INVESTIGATE) | 8
Total Billing Variance — Flagged Accounts | 5650.59
Average Spike Ratio (All Accounts) | 1.34
Maximum Spike Ratio | 2.2551
Minimum Spike Ratio | 0.98571
% Accounts Flagged | 40%
Rate Code Breakdown — Flagged Accounts
Rate Code | Flagged Count | % of Flagged
RS-1 | 2 | 0.03539%
GS-2 | 2 | 0.03539%
GS-3 | 2 | 0.03539%
PL-1 | 1 | 0.0177%
IS-1 | 1 | 0.0177%

## 2-Meter Data Quality
Electric Company — Meter Read Data Quality Validation
Purpose: Validate meter reads for duplicates, missing reads, reversed reads, and implausible consumption
Meter ID | Account ID | Read Date | Previous Read (kWh) | Current Read (kWh) | Consumption (kWh) | Days in Period | Daily Avg Consumption | Expected Daily Avg (kWh) | Deviation % | Read Type | Data Quality Flag
MTR-5001 | Electric Company-10001 | 2026-08-31 | 48200 | 49520 | 1320 | 30 | 44 | 43.5 | 1.149% | Actual | DUPLICATE
MTR-5002 | Electric Company-10002 | 2026-08-31 | 91450 | 93660 | 2210 | 30 | 73.6667 | 34.2 | 115.4% | Actual | DUPLICATE
MTR-5003 | Electric Company-10003 | 2026-08-31 | 22100 | 23500 | 1400 | 30 | 46.6667 | 46.2 | 1.01% | Remote | OK
MTR-5004 | Electric Company-10004 | 2026-08-31 | 67800 | 69480 | 1680 | 30 | 56 | 56 | 0% | Actual | OK
MTR-5005 | Electric Company-10005 | 2026-08-31 | 33400 | 34310 | 910 | 30 | 30.3333 | 30.3 | 0.11% | Remote | OK
MTR-5006 | Electric Company-10006 | 2026-08-31 | 215000 | 222610 | 7610 | 30 | 253.6667 | 253.7 | 0.01314% | Actual | OK
MTR-5001 | Electric Company-10001 | 2026-08-31 | 48200 | 49520 | 1320 | 30 | 44 | 43.5 | 1.149% | Actual | DUPLICATE
MTR-5007 | Electric Company-10007 | 2026-08-31 | 108500 | 114150 | 5650 | 30 | 188.3333 | 188.3 | 0.0177% | Remote | OK
MTR-5008 | Electric Company-10008 | 2026-08-31 | 74200 | 74200 | 0 | 30 | 0 | 39.1 | 100% | Actual | MISSING
MTR-5009 | Electric Company-10009 | 2026-08-31 | 189000 | 196245 | 7245 | 30 | 241.5 | 241.5 | 0% | Remote | OK
MTR-5010 | Electric Company-10010 | 2026-08-31 | 52000 | 53380 | 1380 | 30 | 46 | 45 | 2.222% | Actual | OK
MTR-5011 | Electric Company-10011 | 2026-08-31 | 410000 | 406500 | -3500 | 30 | -116.6667 | 400 | 129.2% | Remote | REVERSED
MTR-5012 | Electric Company-10012 | 2026-08-31 | 580000 | 590700 | 10700 | 30 | 356.6667 | 356.7 | 0.009345% | Actual | OK
MTR-5013 | Electric Company-10013 | 2026-08-31 | 320000 | 321500 | 1500 | 30 | 50 | 100 | 50% | Remote | OK
MTR-5014 | Electric Company-10014 | 2026-08-31 | 245000 | 248520 | 3520 | 30 | 117.3333 | 117.3 | 0.02842% | Actual | OK
MTR-5015 | Electric Company-10015 | 2026-08-31 | 175000 | 180250 | 5250 | 30 | 175 | 175 | 0% | Remote | OK
MTR-5016 | Electric Company-10016 | 2026-08-31 | 12400 | 12790 | 390 | 30 | 13 | 13 | 0% | Remote | OK
MTR-5017 | Electric Company-10017 | 2026-08-31 | 9800 | 9800 | 0 | 30 | 0 | 9.7 | 100% | Estimated | HIGH DEVIATION
MTR-5018 | Electric Company-10018 | 2026-08-31 | 16500 | 15900 | -600 | 30 | -20 | 17 | 217.6% | Actual | REVERSED
MTR-5019 | Electric Company-10019 | 2026-08-31 | 1850000 | 1891500 | 41500 | 30 | 1383.3333 | 1383.3 | 0.00241% | Remote | OK
MTR-5020 | Electric Company-10020 | 2026-08-31 | 2400000 | 2450000 | 50000 | 30 | 1666.6667 | 2500 | 33.33% | Remote | OK
MTR-5002 | Electric Company-10002 | 2026-08-31 | 91450 | 93660 | 2210 | 30 | 73.6667 | 34.2 | 115.4% | Actual | DUPLICATE
MTR-5021 | Electric Company-10021 | 2026-08-31 | 38200 | 40890 | 2690 | 30 | 89.6667 | 89.7 | 0.03716% | Actual | OK
MTR-5022 | Electric Company-10022 | 2026-08-31 | 27600 | 27600 | 0 | 30 | 0 | 28.5 | 100% | Remote | HIGH DEVIATION
MTR-5023 | Electric Company-10023 | 2026-08-31 | 61000 | 61000 | 0 | 30 | 0 | 2 | 100% | Actual | MISSING
SUMMARY — Data Quality Flag Counts
Flag Type | Count | % of Total | Color Code | Action Required
DUPLICATE | 4 | 16% | DUPLICATE | Remove duplicate — keep most recent read
REVERSED | 2 | 8% | REVERSED | Investigate — possible meter rollback or tamper
MISSING | 2 | 8% | MISSING | Estimate consumption using historical avg
HIGH DEVIATION | 2 | 8% | HIGH DEVIATION | Verify with field read — possible meter fault
OK | 15 | 60% | OK | No action needed
Total Reads Flagged (any issue): | 10
% of Reads with Issues: | 40%
Total Estimated kWh at Risk (flagged): | 2960

## 3-Outage KPIs
Electric Company — Outage KPI Calculations (SAIDI / SAIFI / CAIDI) | [11 empty] | Total Customers Served | 800000
Purpose: Calculate IEEE 1366 reliability KPIs from raw outage event data ¦ Total Customers Served = 800,000
Outage ID | Date | Circuit ID | Cause Category | Customers Affected | Duration (min) | CMI (Cust×Min) | Restoration Time | SAIDI Contrib (min) | SAIFI Contrib | Cumulative SAIDI | Cumulative SAIFI |  |  | Cause | Total CMI
OUT-0001 | 2026-01-08 | CKT-4412 | Weather | 3200 | 95 | 304000 | 2026-01-08 10:35 | 0.38 | 0.004 | 0.38 | 0.004 |  |  | Weather | 25568500
OUT-0002 | 2026-01-15 | CKT-2201 | Equipment Failure | 850 | 45 | 38250 | 2026-01-15 14:20 | 0.047813 | 0.0010625 | 0.42781 | 0.0050625 |  |  | Equipment Failure | 1112200
OUT-0003 | 2026-01-22 | CKT-5530 | Vegetation | 1200 | 70 | 84000 | 2026-01-22 09:15 | 0.105 | 0.0015 | 0.53281 | 0.0065625 |  |  | Vegetation | 458000
OUT-0004 | 2026-02-03 | CKT-1105 | Planned | 600 | 120 | 72000 | 2026-02-03 08:00 | 0.09 | 0.00075 | 0.62281 | 0.0073125 |  |  | Planned | 244800
OUT-0005 | 2026-02-10 | CKT-3318 | Weather | 8500 | 310 | 2635000 | 2026-02-10 17:45 | 3.2938 | 0.010625 | 3.9166 | 0.017938 |  |  | Unknown | 108800
OUT-0006 | 2026-02-19 | CKT-4412 | Unknown | 430 | 55 | 23650 | 2026-02-19 11:00 | 0.029562 | 0.0005375 | 3.9461 | 0.018475
OUT-0007 | 2026-03-02 | CKT-2201 | Equipment Failure | 2100 | 130 | 273000 | 2026-03-02 13:30 | 0.34125 | 0.002625 | 4.2874 | 0.0211
OUT-0008 | 2026-03-14 | CKT-6601 | Weather | 6700 | 285 | 1909500 | 2026-03-14 16:10 | 2.3869 | 0.008375 | 6.6742 | 0.029475
OUT-0009 | 2026-03-25 | CKT-3318 | Vegetation | 980 | 80 | 78400 | 2026-03-25 10:00 | 0.098 | 0.001225 | 6.7722 | 0.0307
OUT-0010 | 2026-04-05 | CKT-1105 | Planned | 750 | 100 | 75000 | 2026-04-05 07:00 | 0.09375 | 0.0009375 | 6.866 | 0.031637
OUT-0011 | 2026-04-12 | CKT-5530 | Weather | 4400 | 175 | 770000 | 2026-04-12 15:00 | 0.9625 | 0.0055 | 7.8285 | 0.037137
OUT-0012 | 2026-04-20 | CKT-4412 | Equipment Failure | 1650 | 90 | 148500 | 2026-04-20 12:00 | 0.18563 | 0.0020625 | 8.0141 | 0.0392
OUT-0013 | 2026-05-01 | CKT-2201 | Vegetation | 550 | 65 | 35750 | 2026-05-01 08:30 | 0.044687 | 0.0006875 | 8.0588 | 0.039887
OUT-0014 | 2026-05-08 | CKT-6601 | Unknown | 1100 | 50 | 55000 | 2026-05-08 19:00 | 0.06875 | 0.001375 | 8.1276 | 0.041263
OUT-0015 | 2026-05-18 | CKT-3318 | Weather | 9200 | 420 | 3864000 | 2026-05-18 14:00 | 4.83 | 0.0115 | 12.9576 | 0.052763
OUT-0016 | 2026-05-27 | CKT-1105 | Equipment Failure | 720 | 60 | 43200 | 2026-05-27 10:30 | 0.054 | 0.0009 | 13.0116 | 0.053663
OUT-0017 | 2026-06-03 | CKT-5530 | Weather | 5100 | 240 | 1224000 | 2026-06-03 16:45 | 1.53 | 0.006375 | 14.5416 | 0.060038
OUT-0018 | 2026-06-11 | CKT-4412 | Vegetation | 830 | 75 | 62250 | 2026-06-11 09:00 | 0.077813 | 0.0010375 | 14.6194 | 0.061075
OUT-0019 | 2026-06-20 | CKT-2201 | Planned | 500 | 90 | 45000 | 2026-06-20 06:00 | 0.05625 | 0.000625 | 14.6756 | 0.0617
OUT-0020 | 2026-06-28 | CKT-6601 | Weather | 11500 | 390 | 4485000 | 2026-06-28 18:00 | 5.6063 | 0.014375 | 20.2819 | 0.076075
OUT-0021 | 2026-07-04 | CKT-3318 | Weather | 7800 | 260 | 2028000 | 2026-07-04 20:30 | 2.535 | 0.00975 | 22.8169 | 0.085825
OUT-0022 | 2026-07-12 | CKT-1105 | Equipment Failure | 1950 | 115 | 224250 | 2026-07-12 13:00 | 0.28031 | 0.0024375 | 23.0972 | 0.088262
OUT-0023 | 2026-07-19 | CKT-5530 | Unknown | 670 | 45 | 30150 | 2026-07-19 11:00 | 0.037687 | 0.0008375 | 23.1349 | 0.0891
OUT-0024 | 2026-07-26 | CKT-4412 | Vegetation | 1400 | 95 | 133000 | 2026-07-26 10:00 | 0.16625 | 0.00175 | 23.3011 | 0.09085
OUT-0025 | 2026-08-02 | CKT-2201 | Weather | 14000 | 510 | 7140000 | 2026-08-02 17:00 | 8.925 | 0.0175 | 32.2261 | 0.10835
OUT-0026 | 2026-08-10 | CKT-6601 | Equipment Failure | 900 | 70 | 63000 | 2026-08-10 14:30 | 0.07875 | 0.001125 | 32.3049 | 0.10948
OUT-0027 | 2026-08-17 | CKT-3318 | Vegetation | 760 | 85 | 64600 | 2026-08-17 09:30 | 0.08075 | 0.00095 | 32.3856 | 0.11043
OUT-0028 | 2026-08-24 | CKT-1105 | Planned | 480 | 110 | 52800 | 2026-08-24 07:30 | 0.066 | 0.0006 | 32.4516 | 0.11103
OUT-0029 | 2026-09-01 | CKT-5530 | Weather | 6200 | 195 | 1209000 | 2026-09-01 15:00 | 1.5112 | 0.00775 | 33.9629 | 0.11878
OUT-0030 | 2026-09-10 | CKT-4412 | Equipment Failure | 2300 | 140 | 322000 | 2026-09-10 12:00 | 0.4025 | 0.002875 | 34.3654 | 0.12165
KPI DASHBOARD — IEEE 1366 Reliability Summary
KPI Metric | Calculated Value | Format | Notes / Benchmark
Total SAIDI (min/customer/year) | 34.3654 | 0.00 | < 90 min (IEEE 1366 target)
Total SAIFI (int/customer/year) | 0.12165 | 0.0000 | < 1.00 (IEEE 1366 target)
CAIDI (min/interruption) = SAIDI/SAIFI | 282.4938 | 0.00 | Duration efficiency metric
Total CMI (Customer-Minutes Int.) | 27492300 | #,##0 | Sum of all customer-minute impacts
Total Outage Events | 30 | 0 | Count of recorded outage events
Worst Single Event (by CMI) | 7140000 | #,##0 | Highest single-event customer impact
Avg Duration — Weather (min) | 288 | 0.0
Avg Duration — Equipment Failure (min) | 92.8571 | 0.0
Avg Duration — Vegetation (min) | 78.3333 | 0.0
Avg Duration — Planned (min) | 105 | 0.0
Avg Duration — Unknown (min) | 50 | 0.0
SAIDI vs IEEE Target | WITHIN TARGET | —
SAIFI vs IEEE Target | WITHIN TARGET | —
NOTE: SAIDI and SAIFI values above reflect year-to-date data through September 2026.
IEEE 1366 benchmarks are annual targets. Annualized projections may exceed partial-year totals.

## 4-Billing Formulas
Electric Company — Billing Amount Formulas & Rate Calculator
Purpose: Demonstrate Electric Company rate structure billing calculations for RS-1, GS-2, GS-3, IS-1 rate classes
RATE ASSUMPTIONS (Change values here — formulas update automatically)
Parameter | Value | Unit | Notes
RS-1 Base Charge | 6.65 | $/month | Residential fixed monthly charge
RS-1 Tier 1 Energy Rate | 0.08456 | $/kWh | First 1,000 kWh
RS-1 Tier 2 Energy Rate | 0.10234 | $/kWh | Above 1,000 kWh
GS-2 Base Charge | 15 | $/month | Small commercial fixed charge
GS-2 Energy Rate | 0.07823 | $/kWh | All kWh
GS-2 Demand Charge | 9.5 | $/kW | Measured demand
GS-3 Base Charge | 35 | $/month | Medium commercial fixed charge
GS-3 Energy Rate | 0.06512 | $/kWh | All kWh
GS-3 Demand Charge | 12.75 | $/kW | Measured demand
IS-1 Base Charge | 150 | $/month | Industrial fixed charge
IS-1 Energy Rate | 0.04823 | $/kWh | All kWh
IS-1 Demand Charge | 15 | $/kW | Measured demand
Fuel Adjustment Charge | 0.02341 | $/kWh | Applied to all rate classes
Gross Receipts Tax Rate | 0.0256 | % | Applied to subtotal
State Sales Tax Rate | 0.065 | % | Applied after GRT
RS-1 Tier Breakpoint | 1000 | kWh | Tier 1 / Tier 2 kWh boundary
BILLING CALCULATOR — 15 Customer Scenarios
Account ID | Rate Code | kWh Usage | Demand (kW) | Base Charge ($) | Tier 1 Energy ($) | Tier 2 Energy ($) | Fuel Adjust ($) | Subtotal Before Tax ($) | Gross Receipts Tax ($) | State Sales Tax ($) | Total Bill ($) | Prior Month Bill ($) | MoM Change ($) | MoM % Change
Electric Company-20001 | RS-1 | 850 | 0 | 6.65 | 71.876 | 0 | 19.8985 | 98.4245 | 2.5197 | 6.5614 | 107.5055 | 95.2 | 12.3055 | 12.93%
Electric Company-20002 | RS-1 | 1350 | 0 | 6.65 | 84.56 | 35.819 | 31.6035 | 158.6325 | 4.061 | 10.5751 | 173.2686 | 130.45 | 42.8186 | 32.82%
Electric Company-20003 | RS-1 | 2200 | 0 | 6.65 | 84.56 | 122.808 | 51.502 | 265.52 | 6.7973 | 17.7006 | 290.0179 | 198.3 | 91.7179 | 46.25%
Electric Company-20004 | RS-1 | 680 | 0 | 6.65 | 57.5008 | 0 | 15.9188 | 80.0696 | 2.0498 | 5.3378 | 87.4571 | 72.1 | 15.3571 | 21.3%
Electric Company-20005 | GS-2 | 4200 | 18 | 15 | 328.566 | 0 | 98.322 | 612.888 | 15.6899 | 40.8576 | 669.4355 | 485.6 | 183.8355 | 37.86%
Electric Company-20006 | GS-2 | 6800 | 28 | 15 | 531.964 | 0 | 159.188 | 972.152 | 24.8871 | 64.8075 | 1061.8466 | 740.2 | 321.6466 | 43.45%
Electric Company-20007 | GS-2 | 3100 | 12 | 15 | 242.513 | 0 | 72.571 | 444.084 | 11.3686 | 29.6044 | 485.057 | 368.9 | 116.157 | 31.49%
Electric Company-20008 | GS-2 | 7500 | 35 | 15 | 586.725 | 0 | 175.575 | 1109.8 | 28.4109 | 73.9837 | 1212.1946 | 812.4 | 399.7946 | 49.21%
Electric Company-20009 | GS-3 | 11500 | 85 | 35 | 748.88 | 0 | 269.215 | 2136.845 | 54.7032 | 142.4506 | 2333.9989 | 980.15 | 1353.8489 | 138.1%
Electric Company-20010 | GS-3 | 16800 | 140 | 35 | 1094.016 | 0 | 393.288 | 3307.304 | 84.667 | 220.4781 | 3612.4491 | 1425.6 | 2186.8491 | 153.4%
Electric Company-20011 | GS-3 | 9200 | 70 | 35 | 599.104 | 0 | 215.372 | 1741.976 | 44.5946 | 116.1271 | 1902.6977 | 780.3 | 1122.3977 | 143.8%
Electric Company-20012 | IS-1 | 42000 | 320 | 150 | 2025.66 | 0 | 983.22 | 7958.88 | 203.7473 | 530.5708 | 8693.1981 | 3850 | 4843.1981 | 125.8%
Electric Company-20013 | IS-1 | 68000 | 500 | 150 | 3279.64 | 0 | 1591.88 | 12521.52 | 320.5509 | 834.7346 | 13676.8055 | 6120 | 7556.8055 | 123.5%
Electric Company-20014 | IS-1 | 35000 | 270 | 150 | 1688.05 | 0 | 819.35 | 6707.4 | 171.7094 | 447.1421 | 7326.2516 | 3190 | 4136.2516 | 129.7%
Electric Company-20015 | RS-1 | 1000 | 0 | 6.65 | 84.56 | 0 | 23.41 | 114.62 | 2.9343 | 7.641 | 125.1953 | 108.9 | 16.2953 | 14.96%
NOTE: GS-2, GS-3, and IS-1 Tier 2 Energy column shows $0 — demand charge is included in Subtotal Before Tax formula.

## 5-Power Query ETL
Electric Company — Power Query ETL Examples & M-Code Reference
Purpose: Document Power Query M-code ETL logic for Electric Company utility data pipelines with explanatory annotations
TABLE 1 — ETL Transformation Steps (12 Scenarios)
Step # | Transformation Name | Business Purpose | M-Code Snippet (text reference) | Input Data Example | Output Data Example | Common Errors / Pitfalls
1 | Load Meter Read CSV from Data Lake | Import raw meter read files from Electric Company SFTP/data lake into Power Query for downstream transformation | Csv.Document(File.Contents("\\Electric Company-datalake\meterreads\MR_2026-08.csv"), [Delimiter=",", Encoding=1252, QuoteStyle=QuoteStyle.None]) | CSV file: MTR-5001, Electric Company-10001, 8/31/2026, 48200, 49520 | Table with columns: MeterID, AccountID, ReadDate(date), PrevRead(int), CurrRead(int) | Date parsing fails if format is M/D/YYYY vs YYYY-MM-DD — always cast with Date.FromText() specifying locale
2 | Remove Duplicate Meter Reads | Eliminate duplicate entries where same Meter ID and Read Date appear more than once — keeps most recent ingestion | Table.Distinct(Source, {"MeterID", "ReadDate"}) | Two rows: MTR-5001 ¦ 2026-08-31 ¦ 49520 and MTR-5001 ¦ 2026-08-31 ¦ 49520 | Single row: MTR-5001 ¦ 2026-08-31 ¦ 49520 | Table.Distinct keeps first occurrence — sort by ingestion timestamp DESC before deduplication to keep latest
3 | Filter Out Estimated Reads | Exclude estimated reads from billing validation — only actual and remote reads should feed billing calculations | Table.SelectRows(Source, each [ReadType] <> "Estimated") | Rows with ReadType: Actual, Estimated, Remote, Actual | Rows with ReadType: Actual, Remote, Actual (Estimated row removed) | If ReadType column has trailing spaces or mixed case (estimated vs Estimated), filter will miss rows — use Text.Trim and Text.Proper first
4 | Calculate Consumption (Handle Nulls) | Derive consumption as Current Read minus Previous Read; null-safe to prevent errors on missing read data | Table.AddColumn(Source, "Consumption", each if [CurrentRead] = null or [PreviousRead] = null then null else [CurrentRead] - [PreviousRead], Int64.Type) | PrevRead: 48200 ¦ CurrRead: 49520 (one row has null CurrRead) | Consumption: 1320 ¦ null (null-safe — no error thrown) | Without null check, subtraction on null throws Expression.Error. Always guard nulls before arithmetic in M
5 | Join Meter Reads to Customer Master | Merge meter read table with customer master on AccountID to enrich with customer name, rate code, and service address | Table.NestedJoin(MeterReads, "AccountID", CustomerMaster, "AccountID", "CustomerInfo", JoinKind.LeftOuter) | MeterReads: AccountID=Electric Company-10001 ¦ CustomerMaster: AccountID=Electric Company-10001, Name=Sandra Mitchell, RaElectric Companyde=RS-1 | Merged row: Electric Company-10001 ¦ Sandra Mitchell ¦ RS-1 ¦ 49520 | Left join keeps all meter reads even if no match in customer master — unmatched rows have null customer fields. Always expand nested column after merge with Table.ExpandTableColumn
6 | Flag Negative Consumption | Identify reversed meter reads where consumption is negative — indicates meter rollback, tamper, or data entry error | Table.AddColumn(Source, "DataQualityFlag", each if [Consumption] < 0 then "REVERSED" else if [Consumption] = 0 then "ZERO_READ" else "OK", type text) | Consumption: 1320, -450, 0, 890 | DataQualityFlag: OK, REVERSED, ZERO_READ, OK | Zero-read may be legitimate (no usage) or missing — add ReadType check: MISSING only if ReadType=Actual AND Consumption=0
7 | Pivot Monthly kWh by Account (12 Months) | Transpose monthly consumption data from tall format (one row per account-month) to wide format (one row per account, 12 month columns) | Table.Pivot(Source, List.Distinct(Source[MonthYear]), "MonthYear", "Consumption", List.Sum) | Tall: Electric Company-10001 ¦ Jan-26 ¦ 1150 / Electric Company-10001 ¦ Feb-26 ¦ 980 | Wide: Electric Company-10001 ¦ Jan-26: 1150 ¦ Feb-26: 980 ¦ ... ¦ Dec-26: [value] | If an account has no data for a month, pivot creates null — replace with 0 using Table.ReplaceValue after pivot. Also: month order in columns may be alphabetical, not chronological — sort source before pivoting
8 | Rolling 3-Month Average Consumption | Calculate each account's prior 3-month average kWh for spike detection baseline — requires partitioning by AccountID | Table.AddColumn(Source, "Avg3Mo", each List.Average(List.LastN(Table.SelectRows(Source, (r) => r[AccountID] = [AccountID] and r[ReadDate] < [ReadDate])[Consumption], 3))) | AccountID: Electric Company-10001 ¦ Months: Jun=1100, Jul=980, Aug=1320 (current) | Avg3Mo: 1040 (average of prior 3 months excluding current) | Self-referencing table in M is slow on large datasets — consider grouping first with Table.Group, then expanding. This pattern does not scale to 800K accounts without significant refresh time
9 | Parse Outage Duration from Timestamps | Calculate outage duration in minutes by subtracting StartTime from EndTime — handles datetime arithmetic for SAIDI calculation | Table.AddColumn(Source, "DurationMin", each Duration.TotalMinutes([EndTime] - [StartTime]), type number) | StartTime: 2026-08-02 17:00:00 ¦ EndTime: 2026-08-02 25:30:00 (next day: 01:30) | DurationMin: 510 | If timestamps are stored as text, Duration arithmetic fails — cast with DateTime.FromText first. Also watch for timezone offsets if outage spans DST change
10 | Group Outages by Circuit and Sum CMI | Aggregate outage events by Circuit ID to calculate total Customer-Minutes Interrupted per circuit for reliability analysis | Table.Group(Source, {"CircuitID"}, {{"TotalCMI", each List.Sum([CMI]), Int64.Type}, {"EventCount", each Table.RowCount(_), Int32.Type}}) | Rows: CKT-4412¦3200 CMI / CKT-4412¦7680 CMI / CKT-2201¦38250 CMI | Grouped: CKT-4412 ¦ TotalCMI: 10880 ¦ EventCount: 2 / CKT-2201 ¦ TotalCMI: 38250 ¦ EventCount: 1 | Table.Group with List.Sum treats null as 0 by default — confirm null handling matches business rule. Use List.Sum with explicit null check if needed
11 | Merge Billing Data with Rate Code Table | Join billing transactions to rate code reference table to apply correct energy rate, demand rate, and base charge per rate class | Table.NestedJoin(BillingData, "RaElectric Companyde", RaElectric CompanydeTable, "RaElectric Companyde", "RateInfo", JoinKind.LeftOuter) | BillingData: Electric Company-10001 ¦ RS-1 ¦ 1320 kWh / RaElectric CompanydeTable: RS-1 ¦ $0.08456/kWh ¦ $6.65 base | Merged: Electric Company-10001 ¦ RS-1 ¦ 1320 kWh ¦ EnergyRate: 0.08456 ¦ BaseCharge: 6.65 | Rate code mismatches (e.g., RS1 vs RS-1) cause all-null merge results. Always normalize rate codes with Text.Trim and Text.Upper before joining
12 | Export Cleaned Data with Audit Timestamp | Write final cleaned dataset to staging table and append an audit column with load timestamp for data lineage tracking | Table.AddColumn(CleanedData, "LoadTimestamp", each DateTime.LocalNow(), type datetime) | Cleaned 25-row meter read dataset with all quality flags resolved | 25-row output with new column LoadTimestamp: 2026-09-18 15:22:00 (current run time) | DateTime.LocalNow() captures machine time — use DateTimeZone.UtcNow() for consistency across servers in different time zones. Stamp should be added as last step to reflect actual load time
TABLE 2 — Power Query Best Practices for Electric Company Data
# | Best Practice | Rationale | Example / Electric Company Context | Risk if Ignored
1 | Always cast column types explicitly after each transformation | Power Query infers types based on sample data — inferences can change when data changes, breaking downstream calculations | After loading meter reads CSV, immediately cast: MeterID as text, ReadDate as date, CurrRead as Int64 | Type inference errors silently convert numeric meter IDs to dates or nulls, corrupting join keys
2 | Use Table.Buffer() before self-referencing table operations | Unbuffered self-references re-evaluate the entire table for each row, causing exponential refresh times | Buffer the meter reads table before computing rolling 3-month averages: BufferedMR = Table.Buffer(MeterReads) | Without buffering, 800K-row meter read table with rolling avg calculation can take hours instead of minutes
3 | Normalize all key columns before joins (trim, uppercase, remove dashes) | Electric Company source systems may use RS-1, RS1, rs-1, or RS 1 for the same rate code — inconsistent keys break joins silently | Text.Trim(Text.Upper([RaElectric Companyde])) before joining billing to rate code table | Left join on mismatched keys returns all-null rows for merged columns — billing calculations produce zeros
4 | Always sort time-series data by date before pivoting or windowing | Power Query pivot and rolling window functions depend on row order — unsorted data produces incorrect month assignments | Sort meter reads by AccountID then ReadDate ASC before pivoting to wide monthly format | Pivot columns appear in random order; rolling averages include wrong months
5 | Use DateTimeZone.UtcNow() for audit timestamps, not DateTime.LocalNow() | Electric Company data infrastructure spans multiple servers — local time varies by server timezone and DST changes | Add audit column: DateTimeZone.UtcNow() converted to Eastern for display: DateTimeZone.SwitchZone(...,-4,0) | Audit logs show inconsistent timestamps; DST-boundary records have duplicate or missing hour entries
6 | Disable auto-refresh on large datasets during development | Each transformation step triggers a full data refresh in Power Query editor — slow on 800K+ row datasets | Uncheck 'Allow data preview to refresh in background' in Power Query options during pipeline development | Developer waiting 5+ minutes per step, increasing risk of abandoned work and incomplete error checking
7 | Document all transformation steps with renamed step names | Default step names (Changed Type, Removed Columns) provide no business context for future maintainers | Rename steps: 'RemovedDuplicateMeterReads', 'FlaggedNegativeConsumption', 'MergedCustomerMaster' | Future analyst cannot understand pipeline logic without running each step; maintenance time doubles
8 | Use parameters for file paths and date ranges | Hardcoded file paths and date ranges break pipeline when source location changes or date range rolls forward | Create Power Query parameters: FilePath = '\\Electric Company-datalake\meterreads\', ReportMonth = date(2026,9,1) | Pipeline fails silently or produces wrong date range after month-end roll; requires code edit not just parameter update
9 | Validate row counts at each major join step | Unexpected row count changes after a join indicate key mismatches, duplicates, or data loss | Add a diagnostic step: Table.RowCount(AfterJoin) vs Table.RowCount(BeforeJoin) — flag if count changes unexpectedly | Silent data loss: 50K meter reads reduced to 48K after join due to unmatched AccountIDs — billing runs on incomplete data
10 | Use Table.SelectColumns() to drop unused columns early in the pipeline | Carrying unnecessary columns through all transformation steps increases memory usage and slows refresh | After loading meter reads, immediately select only needed columns: MeterID, AccountID, ReadDate, PrevRead, CurrRead, ReadType | Large refresh times; memory pressure causes Power Query to crash on full Electric Company dataset load